## Slide 1: Deep convolutional neural networks to restore single-shot electron microscopy images
Dr. Ivan Lobato
Workshop on machine learning methods in transmission electron microscopy
OCTOBER 28 - 29, 2024
CNN

## Slide 2
Electron microscope
Few millions of Euros

## Slide 3
Outline
  Introduction
  Image distortions in STEM
  Machine Learning
  Architecture - Loss functions
  Modelling distortions
  Applications on real data
  Conclusions

## Slide 4: Parallel illumination data acquisition
TEM microscope
TEM

## Slide 5: STEM acquisition
STEM microscope
STEM

## Slide 6: SEM acquisition
SEM microscope
Detector
SEM

## Slide 7: Traditional Programming
Data
Program
Output
Machine Learning (supervised)
Data
Output
Program
Computer
Computer

## Slide 8
Some distortions in a single STEM micrograph
X Jitter
Poisson noise
Fast scanning
Y Jitter
Thermal noise
X ray
Downsampling
Saturation

## Slide 9: Can all distortions in a single scanning transmission electron micrograph be corrected through automated post-processing?
No, if we use traditional programing..
Yes, if we use machine learning.
Identification
Modelling
Localization
Quantification

## Slide 10: Hyperparameters
Neural networks
Artificial neuron

## Slide 11
Convolutional neural networks
512x512
10^11
variables

## Slide 12
Neural network architectures
1998
2012
2015

## Slide 13
Training
Validation
Cost function

## Slide 14: How to obtain undistorted STEM images?
We are only able to collect distorted data.
The experimental data is limited to few samples SrTiO3[001], Au[110], etc.).
Therefore, we have to use synthetic data: simulated STEM images for different specimens, orientations, misalignments, aberrations, amorphous layers, microscope parameters, etc.

## Slide 15
Workflow for training a neural network
Distorted data
undistorted data
Architecture
Loss functions
Training procedure
Simulated distorted data
Simulated undistorted data
How to get realistic pair of distorted/undistorted data

## Slide 16
Importance of sampling
Phase space of all possible STEM images
Au[110]
SrTiO3[001]

## Slide 17
Architectures

## Slide 18
Architecture

## Slide 19
Generator architecture

## Slide 20
Discriminator architecture

## Slide 21
Loss functions

## Slide 22
Loss function

## Slide 23
Multi-local whitening transform

## Slide 24: Data generation

## Slide 25: Undistorted data generation

## Slide 26: Undistorted data generation

## Slide 27: Distorted data generation

## Slide 28
Some distortions in a single STEM micrograph

## Slide 29
X-Jitter

## Slide 30
Y-Jitter

## Slide 31
XY-Jitter

## Slide 32
Detector noise
Ground Truth
F=1
F=5
F=25

## Slide 33
Fast scanning distortions

## Slide 34
Fast scanning distortions
alpha = 0.12
alpha = 0.85
alpha = 0.35
Ground truth

## Slide 35
Saturation distortion
Ground Truth
Poisson noise
Saturation

## Slide 36
Upsampling distortion
Ground Truth
F=1
F=2
F=4

## Slide 37
Downsampling distortion
Ground Truth
F=1
F=0.5
F=0.25

## Slide 38
Some distortions in a single TEM micrograph

## Slide 39: Available networks
sfr_hrstem (single frame high resolution TEM)
sfr_lrstem (single frame low resolution TEM)
sfr_hrtem (single frame high resolution STEM)
sfr_lrtem (single frame low resolution STEM)
sfr_hrsem (single frame high resolution SEM)
sfr_lrsem (single frame low resolution SEM)
HR
LR

## Slide 40: Comparison of neural network performance on simulated data

## Slide 41
High resolution STEM

## Slide 42
High resolution TEM

## Slide 43
High resolution STEM

## Slide 44
Comparison of the CNN restoration to the BM3D algorithm

## Slide 45
Selecting the optimal neural network for your data

## Slide 46
Comparison of neural network performance on experimental data

## Slide 47: Results HRSTEM

## Slide 48
SrTio3

## Slide 49
Pt nanoparticle-Gas Holder

## Slide 50
Ag nanoparticle

## Slide 51
Ag nanoparticle

## Slide 52: Results HRTEM

## Slide 53
Nanorod
A)
B)

## Slide 55: Results SEM

## Slide 57
A)
B)

## Slide 58
A)
B)

## Slide 61
Comparing CNN restoration methods on HAADF-STEM data

## Slide 62
Precision comparison in estimating unknown structure parameters with and without CNN

## Slide 63
Application of the CNN restoration to an imperfect crystal structure

## Slide 64
Performance of the CNN restoration for atom counting

## Slide 65
Evaluating neural network performance on white noise data

## Slide 66
Evaluating neural network performance on counting noise data

## Slide 67
Evaluating neural network performance on counting noise in tilted samples

## Slide 68
Do the restored EM images enhance resolution compared to the raw data?

## Slide 70
Can the restored EM images aid in segmentation?

## Slide 72
Can restored EM images improve the physical modeling of the detection process?

## Slide 74
Raw data
CCN (1)
Y-scan distortion
CCN (2)
Raw data
CCN (1)
Range of the y-scan distortion

## Slide 75
Raw data
CCN (1)
High-speed scans
Raw data
CCN (1)
CCN (2)
Modelling of the high-speed scans

## Slide 76
Modelling improvement using experimental data
Experimental Data
NN
Improve modelling
Retrain
Is distortion free?
No

## Slide 77
New improvements
Adversarial training for robustness
Time series analysis for temporal dynamics
Enhanced specimen diversity using stable diffusion
New network architecture competing with vision transformers and diffusion models
Multi-size training for scalability
Inclusion of direct electron detector distortion
Single network for all EM

## Slide 78
See you at hands-on session
https://github.com/Ivanlh20/tk_r_em/tree/master/workshop_29_10_2024
Thank you